## UnitCost
Level 1 | Level 2 | Level 3 | Level 4 | Level 5 | Unit Price | Unit | group_1 | group_2 | group_3 | Material | Labour | Other
Substation | Transformer | 138/25kV | 25MVA | Equipment | 1300000 | each | facility | substation | material | 1 | 0 | 0
Substation | Transformer | 138/25kV | 42MVA | Equipment | 1430000 | each | facility | substation | material | 1 | 0 | 0
Substation | Transformer | 240/138kV | 100MVA | Equipment | 2730000 | each | facility | substation | material | 1 | 0 | 0
Substation | Transformer | 240/138kV | 200MVA | Equipment | 2600000 | each | facility | substation | material | 1 | 0 | 0
Substation | Transformer | 240/138kV | 400MVA | Equipment | 3250000 | each | facility | substation | material | 1 | 0 | 0
Substation | Transformer | 500/240kV | 1200MVA | Equipment | 7650000 | each | facility | substation | material | 1 | 0 | 0
Substation | Circuit Breaker | 240kV | 1050kV | Equipment | 260000 | each | facility | substation | material | 1 | 0 | 0
Substation | Circuit Breaker | 138kV | 650kV | Equipment | 130000 | each | facility | substation | material | 1 | 0 | 0
Substation | Circuit Breaker | 25kV | 100kV | Equipment |  | each | facility | substation | material | 1 | 0 | 0
Substation | Current Transformer | 240kV | 2000:1 | Equipment | 65000 | each | facility | substation | material | 1 | 0 | 0
Substation | Current Transformer | 138kV | 1200:1 | Equipment | 19500 | each | facility | substation | material | 1 | 0 | 0
Substation | Voltage Transformer | 240kV | 1050kV | Equipment | 20800 | each | facility | substation | material | 1 | 0 | 0
Substation | Voltage Transformer | 138kV | 650kV | Equipment | 19500 | each | facility | substation | material | 1 | 0 | 0
Substation | Potential Transformer | 240kV | 1050kV | Equipment | 20800 | each | facility | substation | material | 1 | 0 | 0
Substation | Potential Transformer | 138kV | 650kV | Equipment | 85800 | each | facility | substation | material | 1 | 0 | 0
Substation | VAR Cap Bank | 240kV | xMVA | Equipment | 650000 | each | facility | substation | material | 1 | 0 | 0
Substation | VAR Cap Bank | 138kV | xMVA | Equipment | 455000 | each | facility | substation | material | 1 | 0 | 0
Substation | VAR Reactor | 240kV | xMVA | Equipment | 1950000 | each | facility | substation | material | 1 | 0 | 0
Substation | VAR Reactor | 138kV | xMVA | Equipment | 1300000 | each | facility | substation | material | 1 | 0 | 0
Substation | Station Service | S.S transformer | 75KVA | Equipment | 19500 | each | facility | substation | material | 1 | 0 | 0
Substation | Air Break | 240kV | 1050kV | Equipment | 41600 | each | facility | substation | material | 1 | 0 | 0
Substation | Air Break | 138kV | 650kV | Equipment | 27300 | each | facility | substation | material | 1 | 0 | 0
Substation | Line Termination | 240kV | 1050kV | Equipment | 195000 | each | facility | substation | material | 1 | 0 | 0
Substation | Line Termination | 138kV | 650kV | Equipment | 52000 | each | facility | substation | material | 1 | 0 | 0
Substation | Main Bus | 240kV | 4000A | Equipment | 13000 | each | facility | substation | material | 1 | 0 | 0
Substation | Main Bus | 138kV | 2000A | Equipment | 6500 | each | facility | substation | material | 1 | 0 | 0
Substation | Control Building |  |  | Equipment | 650000 | each | facility | substation | material | 1 | 0 | 0
Substation | Switchgear Building (7 cell) |  |  | Equipment | 780000 | each | facility | substation | material | 1 | 0 | 0
Substation | Protection relays/modules |  |  | Equipment | 26000 | each | facility | substation | material | 1 | 0 | 0
Substation | Control cables | AWG #10 and below | pre-fab | Equipment | 13 | /m | facility | substation | material | 1 | 0 | 0
Substation | Transformer | 138/25kV | 25MVA | Installation | 26000 | each | facility | substation | labour | 0 | 1 | 0
Substation | Transformer | 138/25kV | 42MVA | Installation | 26000 | each | facility | substation | labour | 0 | 1 | 0
Substation | Transformer | 240/138kV | 100MVA | Installation | 52000 | each | facility | substation | labour | 0 | 1 | 0
Substation | Transformer | 240/138kV | 200MVA | Installation | 65000 | each | facility | substation | labour | 0 | 1 | 0
Substation | Transformer | 240/138kV | 400MVA | Installation | 65000 | each | facility | substation | labour | 0 | 1 | 0
Substation | Transformer | 500/240kV | 1200MVA | Installation | 300000 | each | facility | substation | labour | 0 | 1 | 0
Substation | Circuit Breaker | 240kV | 1050kV | Installation | 26000 | each | facility | substation | labour | 0 | 1 | 0
Substation | Circuit Breaker | 138kV | 650kV | Installation | 26000 | each | facility | substation | labour | 0 | 1 | 0
Substation | Circuit Breaker | 25kV | 100kV | Installation | 13000 | each | facility | substation | labour | 0 | 1 | 0
Substation | Current Transformer | 240kV | 2000:1 | Installation | 11700 | each | facility | substation | labour | 0 | 1 | 0
Substation | Current Transformer | 138kV | 1200:1 | Installation | 11700 | each | facility | substation | labour | 0 | 1 | 0
Substation | Voltage Transformer | 240kV | 1050kV | Installation | 11700 | each | facility | substation | labour | 0 | 1 | 0
Substation | Voltage Transformer | 138kV | 650kV | Installation | 11700 | each | facility | substation | labour | 0 | 1 | 0
Substation | Potential Transformer | 240kV | 1050kV | Installation | 11700 | each | facility | substation | labour | 0 | 1 | 0
Substation | Potential Transformer | 138kV | 650kV | Installation | 11700 | each | facility | substation | labour | 0 | 1 | 0
Substation | VAR Cap Bank | 240kV | xMVA | Installation | 26000 | each | facility | substation | labour | 0 | 1 | 0
Substation | VAR Cap Bank | 138kV | xMVA | Installation | 26000 | each | facility | substation | labour | 0 | 1 | 0
Substation | VAR Reactor | 240kV | xMVA | Installation | 39000 | each | facility | substation | labour | 0 | 1 | 0
Substation | VAR Reactor | 138kV | xMVA | Installation | 39000 | each | facility | substation | labour | 0 | 1 | 0
Substation | Station Service | S.S transformer | 75KVA | Installation | 3900 | each | facility | substation | labour | 0 | 1 | 0
Substation | Air Break | 240kV | 1050kV | Installation | 14300 | each | facility | substation | labour | 0 | 1 | 0
Substation | Air Break | 138kV | 650kV | Installation | 13000 | each | facility | substation | labour | 0 | 1 | 0
Substation | Line Termination | 240kV | 1050kV | Installation | 39000 | each | facility | substation | labour | 0 | 1 | 0
Substation | Line Termination | 138kV | 650kV | Installation | 28600 | each | facility | substation | labour | 0 | 1 | 0
Substation | Main Bus | 240kV | 4000A | Installation | 11700 | each | facility | substation | labour | 0 | 1 | 0
Substation | Main Bus | 138kV | 2000A | Installation | 5850 | each | facility | substation | labour | 0 | 1 | 0
Substation | Control Building |  |  | Installation |  | each | facility | substation | labour | 0 | 1 | 0
Substation | Switchgear Building |  |  | Installation |  | each | facility | substation | labour | 0 | 1 | 0
Substation | Protection relays/modules |  |  | Installation | 3900 | each | facility | substation | labour | 0 | 1 | 0
Substation | Control cables | AWG #10 and below | trenching/closing | Installation | 65 | /m | facility | substation | labour | 0 | 1 | 0
Substation | Transformer | 138/25kV | 25MVA | Foundation | 195000 | each | facility | substation | labour | 0 | 1 | 0
Substation | Transformer | 138/25kV | 42MVA | Foundation | 260000 | each | facility | substation | labour | 0 | 1 | 0
Substation | Transformer | 240/138kV | 100MVA | Foundation | 325000 | each | facility | substation | labour | 0 | 1 | 0
Substation | Transformer | 240/138kV | 200MVA | Foundation | 390000 | each | facility | substation | labour | 0 | 1 | 0
Substation | Transformer | 240/138kV | 400MVA | Foundation | 455000 | each | facility | substation | labour | 0 | 1 | 0
Substation | Transformer | 500/240kV | 1200MVA | Foundation | 750000 | each | facility | substation | labour | 0 | 1 | 0
Substation | Circuit Breaker | 240kV | 1050kV | Foundation | 11700 | each | facility | substation | labour | 0 | 1 | 0
Substation | Circuit Breaker | 138kV | 650kV | Foundation | 19500 | each | facility | substation | labour | 0 | 1 | 0
Substation | Circuit Breaker | 25kV | 100kV | Foundation | 10400 | each | facility | substation | labour | 0 | 1 | 0
Substation | Current Transformer | 240kV | 2000:1 | Foundation | 23400 | each | facility | substation | labour | 0 | 1 | 0
Substation | Current Transformer | 138kV | 1200:1 | Foundation | 20800 | each | facility | substation | labour | 0 | 1 | 0
Substation | Voltage Transformer | 240kV | 1050kV | Foundation | 23400 | each | facility | substation | labour | 0 | 1 | 0
Substation | Voltage Transformer | 138kV | 650kV | Foundation | 20800 | each | facility | substation | labour | 0 | 1 | 0
Substation | Potential Transformer | 240kV | 1050kV | Foundation | 23400 | each | facility | substation | labour | 0 | 1 | 0
Substation | Potential Transformer | 138kV | 650kV | Foundation | 20800 | each | facility | substation | labour | 0 | 1 | 0
Substation | VAR Cap Bank | 240kV | xMVA | Foundation | 105300 | each | facility | substation | labour | 0 | 1 | 0
Substation | VAR Cap Bank | 138kV | xMVA | Foundation | 93600 | each | facility | substation | labour | 0 | 1 | 0
Substation | VAR Reactor | 240kV | xMVA | Foundation | 260000 | each | facility | substation | labour | 0 | 1 | 0
Substation | VAR Reactor | 138kV | xMVA | Foundation | 195000 | each | facility | substation | labour | 0 | 1 | 0
Substation | Station Service | S.S transformer | 75KVA | Foundation | 10400 | each | facility | substation | labour | 0 | 1 | 0
Substation | Air Break | 240kV | 1050kV | Foundation | 46800 | each | facility | substation | labour | 0 | 1 | 0
Substation | Air Break | 138kV | 650kV | Foundation | 20800 | each | facility | substation | labour | 0 | 1 | 0
Substation | Line Termination | 240kV | 1050kV | Foundation | 39000 | each | facility | substation | labour | 0 | 1 | 0
Substation | Line Termination | 138kV | 650kV | Foundation | 26000 | each | facility | substation | labour | 0 | 1 | 0
Substation | Main Bus | 240kV | 4000A | Foundation | 23400 | each | facility | substation | labour | 0 | 1 | 0
Substation | Main Bus | 138kV | 2000A | Foundation | 20800 | each | facility | substation | labour | 0 | 1 | 0
Substation | Control Building | 4mx14m | pre-fab | Foundation | 36400 | each | facility | substation | labour | 0 | 1 | 0
Substation | Switchgear Building | 7-cell | pre-fab | Foundation | 54600 | each | facility | substation | labour | 0 | 1 | 0
Substation | Switchgear Building |  |  | Foundation | 54600 | each | facility | substation | labour | 0 | 1 | 0
Substation | Site Development |  |  |  | 195 | /m² | facility | substation | labour | 0 | 1 | 0
Substation | Access road (7m) |  |  |  | 1154.4 | /m | facility | substation | labour | 0 | 1 | 0
Line | Structure | Wood Pole | 138kV | Tangent | 3000 | each | facility | line | material | 1 | 0 | 0
Line | Structure | Wood Pole | 138kV | Light/Med Angle | 4500 | each | facility | line | material | 1 | 0 | 0
Line | Structure | Wood Pole | 138kV | Heavy Angle | 5500 | each | facility | line | material | 1 | 0 | 0
Line | Structure | Wood Pole | 138kV | Dead End | 10000 | each | facility | line | material | 1 | 0 | 0
Line | Structure | Steel Pole | 138kV | Tangent | 22000 | each | facility | line | material | 1 | 0 | 0
Line | Structure | Steel Pole | 138kV | Light/Med Angle | 30000 | each | facility | line | material | 1 | 0 | 0
Line | Structure | Steel Pole | 138kV | Heavy Angle | 39000 | each | facility | line | material | 1 | 0 | 0
Line | Structure | Steel Pole | 138kV | Dead End | 47000 | each | facility | line | material | 1 | 0 | 0
Line | Structure | Steel Pole | 240kV | Tangent | 20000 | each | facility | line | material | 1 | 0 | 0
Line | Structure | Steel Pole | 240kV | Light/Med Angle | 50000 | each | facility | line | material | 1 | 0 | 0
Line | Structure | Steel Pole | 240kV | Heavy Angle | 190000 | each | facility | line | material | 1 | 0 | 0
Line | Structure | Steel Pole | 240kV | Dead End | 205000 | each | facility | line | material | 1 | 0 | 0
Line | Structure | Lattice Tower | 240kV | Tangent | 53000 | each | facility | line | material | 1 | 0 | 0
Line | Structure | Lattice Tower | 240kV | Light/Med Angle | 90000 | each | facility | line | material | 1 | 0 | 0
Line | Structure | Lattice Tower | 240kV | Heavy Angle | 285000 | each | facility | line | material | 1 | 0 | 0
Line | Structure | Lattice Tower | 240kV | Dead End | 307000 | each | facility | line | material | 1 | 0 | 0
Line | Conductor | 266 | S/C | 1x | 8820 | /km | facility | line | material | 1 | 0 | 0
Line | Conductor | 266 | S/C | 2x | 17640 | /km | facility | line | material | 1 | 0 | 0
Line | Conductor | 266 | D/C | 1x | 17640 | /km | facility | line | material | 1 | 0 | 0
Line | Conductor | 266 | D/C | 2x | 35280 | /km | facility | line | material | 1 | 0 | 0
Line | Conductor | 477 | S/C | 1x | 15750 | /km | facility | line | material | 1 | 0 | 0
Line | Conductor | 477 | S/C | 2x | 31500 | /km | facility | line | material | 1 | 0 | 0
Line | Conductor | 477 | D/C | 1x | 31500 | /km | facility | line | material | 1 | 0 | 0
Line | Conductor | 477 | D/C | 2x | 63000 | /km | facility | line | material | 1 | 0 | 0
Line | Conductor | 795 | S/C | 1x | 25830 | /km | facility | line | material | 1 | 0 | 0
Line | Conductor | 795 | S/C | 2x | 51660 | /km | facility | line | material | 1 | 0 | 0
Line | Conductor | 795 | D/C | 1x | 51660 | /km | facility | line | material | 1 | 0 | 0
Line | Conductor | 795 | D/C | 2x | 103320 | /km | facility | line | material | 1 | 0 | 0
Line | Conductor | 1033 | S/C | 1x | 31500 | /km | facility | line | material | 1 | 0 | 0
Line | Conductor | 1033 | S/C | 2x | 63000 | /km | facility | line | material | 1 | 0 | 0
Line | Conductor | 1033 | D/C | 1x | 63000 | /km | facility | line | material | 1 | 0 | 0
Line | Conductor | 1033 | D/C | 2x | 126000 | /km | facility | line | material | 1 | 0 | 0
Line | Conductor | 1590 | S/C | 1x | 47250 | /km | facility | line | material | 1 | 0 | 0
Line | Conductor | 1590 | S/C | 2x | 94500 | /km | facility | line | material | 1 | 0 | 0
Line | Conductor | 1590 | D/C | 1x | 94500 | /km | facility | line | material | 1 | 0 | 0
Line | Conductor | 1590 | D/C | 2x | 189000 | /km | facility | line | material | 1 | 0 | 0
Line | Conductor | OPGW |  |  | 10300 | /km | facility | line | material | 1 | 0 | 0
Line | Conductor | OHSW |  |  | 3090 | /km | facility | line | material | 1 | 0 | 0
Line | Installation | Wood Pole | 138kV | Tangent | 5000 | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Wood Pole | 138kV | Light/Med Angle | 6250 | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Wood Pole | 138kV | Heavy Angle | 8000 | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Wood Pole | 138kV | Dead End | 10000 | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Steel Pole | 138kV | Tangent | 20000 | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Steel Pole | 138kV | Light/Med Angle | 28000 | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Steel Pole | 138kV | Heavy Angle | 36000 | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Steel Pole | 138kV | Dead End | 44000 | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Steel Pole | 240kV | Tangent |  | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Steel Pole | 240kV | Light/Med Angle |  | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Steel Pole | 240kV | Heavy Angle |  | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Steel Pole | 240kV | Dead End |  | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Lattice Tower | 240kV | Tangent | 85000 | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Lattice Tower | 240kV | Light/Med Angle | 120000 | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Lattice Tower | 240kV | Heavy Angle | 370000 | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Lattice Tower | 240kV | Dead End | 400000 | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Sring | 138kV | S/C | 40000 | /km | facility | line | labour | 0 | 1 | 0
Line | Installation | Sring | 138kV | D/C | 50000 | /km | facility | line | labour | 0 | 1 | 0
Line | Installation | Sring | 240kV | S/C | 120000 | /km | facility | line | labour | 0 | 1 | 0
Line | Installation | Sring | 240kV | D/C | 150000 | /km | facility | line | labour | 0 | 1 | 0
Line | Installation | Sring | OPGW |  | 10000 | /km | facility | line | labour | 0 | 1 | 0
Line | Installation | Sring | OHSW |  | 7000 | /km | facility | line | labour | 0 | 1 | 0
Line | Installation | Foundation | 240kV / Tower | Tangent | 60000 | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Foundation | 240kV / Tower | Light/Med Angle | 84000 | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Foundation | 240kV / Tower | Heavy Angle | 740000 | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Foundation | 240kV / Tower | Dead End | 820000 | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Foundation | 240kV / S/P | Tangent |  | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Foundation | 240kV / S/P | Light/Med Angle |  | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Foundation | 240kV / S/P | Heavy Angle |  | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Foundation | 240kV / S/P | Dead End |  | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Foundation | 138kV / S/P | Tangent | 5000 | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Foundation | 138kV / S/P | Light/Med Angle | 5000 | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Foundation | 138kV / S/P | Heavy Angle | 55000 | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Foundation | 138kV / S/P | Dead End | 60000 | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Foundation | 138kV / W/P | Tangent | 2000 | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Foundation | 138kV / W/P | Light/Med Angle | 2500 | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Foundation | 138kV / W/P | Heavy Angle | 5000 | each | facility | line | labour | 0 | 1 | 0
Line | Installation | Foundation | 138kV / W/P | Dead End | 10000 | each | facility | line | labour | 0 | 1 | 0
Line | R/W Clearing | 138kV | Light brushing |  | 18000 | /km | facility | line | labour | 0 | 1 | 0
Line | R/W Clearing | 138kV | Heavy brushing |  | 36000 | /km | facility | line | labour | 0 | 1 | 0
Line | R/W Clearing | 240kV | Light brushing |  | 50000 | /km | facility | line | labour | 0 | 1 | 0
Line | R/W Clearing | 240kV | Heavy brushing |  | 100000 | /km | facility | line | labour | 0 | 1 | 0
Line | Rig Mat |  |  |  | 100000 | /km/90 day | facility | line | labour | 0 | 1 | 0
Salvage | Substation Equipment | Transformer | 240kV |  | 50000 | each | facility | substation | labour | 0 | 1 | 0
Salvage | Substation Equipment | Transformer | 138kV |  | 20000 | each | facility | substation | labour | 0 | 1 | 0
Salvage | Substation Equipment | Circuit Break | 240kV |  | 20000 | each | facility | substation | labour | 0 | 1 | 0
Salvage | Substation Equipment | Circuit Break | 138kV |  | 20000 | each | facility | substation | labour | 0 | 1 | 0
Salvage | Substation Equipment | Circuit Break | 25kV |  | 10000 | each | facility | substation | labour | 0 | 1 | 0
Salvage | Substation Equipment | Buswork Equipment | 240kV |  | 9000 | each | facility | substation | labour | 0 | 1 | 0
Salvage | Substation Equipment | Buswork Equipment | 138kV |  | 4500 | each | facility | substation | labour | 0 | 1 | 0
Salvage | Substation Equipment | Buswork Equipment | 25kV |  |  | each | facility | substation | labour | 0 | 1 | 0
Salvage | Substation Equipment |  |  |  |  | each | facility | substation | labour | 0 | 1 | 0
Salvage | Substation Equipment |  |  |  |  | each | facility | substation | labour | 0 | 1 | 0
Salvage | Substation Equipment |  |  |  |  | each | facility | substation | labour | 0 | 1 | 0
Salvage | Substation Equipment |  |  |  |  | each | facility | substation | labour | 0 | 1 | 0
Salvage | Line | Conductor | 240kV | S/C | 50000 | /km | facility | line | labour | 0 | 1 | 0
Salvage | Line | Conductor | 138kV | S/C | 30000 | /km | facility | line | labour | 0 | 1 | 0
Salvage | Line | Conductor | 240kV | D/C | 60000 | /km | facility | line | labour | 0 | 1 | 0
Salvage | Line | Conductor | 138kV | D/C | 36000 | /km | facility | line | labour | 0 | 1 | 0
Salvage | Line | Structure / Pole | 240kV |  | 5000 | each | facility | line | labour | 0 | 1 | 0
Salvage | Line | Structure / Pole | 138kV |  | 2000 | each | facility | line | labour | 0 | 1 | 0
Salvage | Line | Structure / Tower | 240kV |  | 10800 | each | facility | line | labour | 0 | 1 | 0
Substation | Transformer | 240/138kV | 400MVA | New | 3770000 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | Transformer | 240/138kV | 200MVA | New | 3055000 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | Transformer | 240/138kV | 100MVA | New | 3107000 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | Transformer | 240/138kV | 42MVA | New | 1716000 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | Transformer | 240/138kV | 25MVA | New | 1521000 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | Transformer | 500/240kV | 1200MVA | New | 8700000 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | Circuit Breaker | 240kV | 1050kV | New | 297700 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | Circuit Breaker | 138kV | 650kV | New | 175500 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | Current Transformer | 240kV | 2000:1 | New | 100100 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | Current Transformer | 138kV | 1200:1 | New | 52000 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | Voltage Transformer | 240kV | 1050kV | New | 55900 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | Voltage Transformer | 138kV | 650kV | New | 52000 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | Potential Transformer | 240kV | 1050kV | New | 55900 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | Potential Transformer | 138kV | 650kV | New | 118300 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | VAR Cap Bank | 240kV | xMVA | New | 781300 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | VAR Cap Bank | 138kV | xMVA | New | 574600 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | VAR Reactor | 240kV | xMVA | New | 2249000 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | VAR Reactor | 138kV | xMVA | New | 1534000 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | Station Service | S.S transformer | 75kVA | New | 33800 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | Air Break | 240kV | 1050kV | New | 102700 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | Air Break | 138kV | 650kV | New | 61100 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | Line Termination | 240kV | 1050kV | New | 273000 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | Line Termination | 138kV | 650kV | New | 106600 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | Main Bus | 240kV | 4000A | New | 48100 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | Main Bus | 138kV | 2000A | New | 33150 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | Control Building | 4mx14m | pre-fab | New | 686400 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | Switchgear Building | 7-cell | pre-fab | New | 834600 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | Protection & Control | relays/modules | pre-fab | New | 29900 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | Circuit Breaker | 500kV | 2000kV | New | 400000 | each | facility | substation | combined | 0.4 | 0.6 | 0
Substation | All sub commissioning | All sub commissioning | All sub commissioning | New | 1 | each | facility | substation | combined | 0.4 | 0.6 | 0
Line | 138kV | S/C | 1x477 | New | 500000 | /km | facility | line | combined | 0.4 | 0.6 | 0
Line | 138kV | D/C | 2x477 | New | 600000 | /km | facility | line | combined | 0.4 | 0.6 | 0
Line | 138kV | S/C | 1x266 | New | 400000 | /km | facility | line | combined | 0.4 | 0.6 | 0
Line | 138kV | D/C single side strung | 2x477 | New | 570000 | /km | facility | line | combined | 0.4 | 0.6 | 0
Line | 240kV | S/C | 2x795 | New | 800000 | /km | facility | line | combined | 0.4 | 0.6 | 0
Line | 240kV | D/C | 2x795 | New | 1500000 | /km | facility | line | combined | 0.4 | 0.6 | 0
Line | 240kV | D/C single side strung | 2x795 | New | 1425000 | /km | facility | line | combined | 0.4 | 0.6 | 0
Line | 240kV | D/C | 2x1033 | New | 2000000 | /km | facility | line | combined | 0.4 | 0.6 | 0
Line | 500kV | S/C | 3x1590 | New | 2000000 | /km | facility | line | combined | 0.4 | 0.6 | 0